## Hydrological Staitons
S.no. | Station Name | Station Index | Total Area, km2 | Area below 3000 masl | 3000 masl < Area < 5000 masl | Area above 5000 masl | Area below 5000 masl
1 | Isuwa at Intake | - | 160.79 | 10.02% | 61.68% | 28.3% | 115.28
2 | Powerhouse river-1 | - | 27542.5589 | 2.545% | 58.45% | 39% | 16800.31
3 | Uwa Gaon | 600.1 | 27090.7629 | 1.618% | 58.9% | 39.48% | 16396.2
4 | Sabhaya | 602 | 391.36 | 92.28% | 7.717% | 0% | 391.36
5 | Hinwa | 602.5 | 148.14 | 96.03% | 3.969% | 0% | 148.14
6 | Turkeghat | 604.5 | 28601.8938 | 5.13% | 57.28% | 37.59% | 17849.7

## HYDEST
HYDROLOGICAL CALCULATION
Job | Due Deligence Study of Isuwa Khola HPP
Subject | HYDEST, 1991
Location | ISUWA
Catchment Area | 27542.5589 | km2 |  | Monsoon Wetness index |  | 2500
Area Below 5000m | 16800.31 | km2 |  | Area Below 3000m |  | 701.04 | km2
Extreme Hydrology
Flood Flow, Q m3/s |  |  | Low Flows
Return Period | Instantaneous | Daily | Return Period | Day | Low flows, Q m3/s
2 | 593.4095 | 419.8553 | 2 | 1 | 130.2062
5 | 886.591 | 585.4759 |  | 7 | 135.144
10 | 1093.5595 | 696.5822 |  | 30 | 143.0819
20 | 1300.2165 | 803.951 |  | Monthly | 146.5905
50 | 1580.2108 | 944.879 | 10 | 1 | 107.682
100 | 1799.0499 | 1052.0254 |  | 7 | 111.2419
200 | 2026.8211 | 1161.1896 |  | 30 | 117.9361
500 | 2340.7566 | 1308.2731 |  | Monthly | 120.6543
1000 | 2589.7575 | 1422.5188 | 20 | 1 | 102.7474
5000 | 3209.5866 | 1699.1684 |  | 7 | 105.7461
10000 | 3495.57 | 1823.6281 |  | 30 | 112.1713
|  |  |  | Monthly | 114.6424
Long term Hydrology
Mean Monthly Flows
Month | Flow, Q m3/s | [6 empty] | C | A1 | A2 | A3
January | 192.4522 | [6 empty] | 0.01423 | 0 | 0.9777 | 0
February | 163.1075 | [6 empty] | 0.01219 | 0 | 0.9766 | 0
March | 159.5328 | [6 empty] | 0.009988 | 0 | 0.9948 | 0
April | 204.5605 | [6 empty] | 0.007974 | 0 | 1.0435 | 0
May | 339.4787 | [6 empty] | 0.008434 | 0 | 1.0898 | 0
June | 1426.2832 | [6 empty] | 0.006943 | 0.9968 | 0 | 0.261
July | 2811.1828 | [6 empty] | 0.02123 | 0 | 1.0093 | 0.2523
August | 3207.5178 | [6 empty] | 0.02548 | 0 | 0.9963 | 0.262
September | 2415.5426 | [6 empty] | 0.01677 | 0 | 0.9894 | 0.2878
October | 1034.3972 | [6 empty] | 0.009724 | 0 | 0.988 | 0.2508
November | 689.8129 | [6 empty] | 0.00176 | 0.9605 | 0 | 0.391
December | 427.9091 | [6 empty] | 0.001485 | 0.9536 | 0 | 0.3607
Mean Monthly Flow | 1089.3148
Maximum flow occurred | 3207.5178
Minimum flow | 159.5328
Flow Duration Curve
Probability of Excedence (%) |  | Discharge
0 |  | 5086.3938
5 |  | 3427.0979
20 |  | 3154.9548
40 |  | 961.6989
50 |  | 712.7635
60 |  | 463.8281
65 |  | 395.1925
80 |  | 189.2857
95 |  | 150.2948
100 |  | 109.4912
Note on K28: Constant Coefficient
Note on L28: Power, Area of Basin
Note on M28: Power, Area of Basin belo 5000m
Note on N28: Power of Monsoon Wetness Index
Note on C29: Bishnu: Though I calculated this to observe the difference with the FDC from empirical relation, we should stick to the built-in version.

## Modified HYDEST
HYDROLOGICAL CALCULATION
Job | Due Deligence Study of Isuwa Khola HPP
Subject | Modified HYDEST
Location | ISUWA |  | Average altitude | 4847.32 | m
Catchment Area | 27542.5589 | km2 | Annual Wetness index | 2500 | mm
Area Below 5000m | 16800.31 | km2 | Area Below 3000m | 701.04 | km2
Extreme Hydrology
Flood flows |  |  |  |  | Low Flows |  |  | Flood flows |  |  | Low Flows
Return Period, T yrs |  | Flood flows, Q m3/s |  |  | Return Period | Day | Low flows, Q m3/s | Standard Normal Variate, s |  |  | Cd,T | Fd,T
2 |  | 641.467 |  |  | 2 | 1 | 116.1675 | 0 |  |  | 0.2144 | 0.0815
5 |  | 1021.104 |  |  |  | 7 | 120.8753 | 0.842 |  |  | 0.2362 | 0.083
10 |  | 1301.8882 |  |  |  | 30 | 129.318 | 1.282 |  |  | 0.3026 | 0.0854
20 |  | 1590.795 |  |  |  | Monthly | 131.9437 | 1.645 |  |  | 0.3397 | 0.086
50 |  | 1993.8143 |  |  | 10 | 1 | 90.9145 | 2.054 |  |  | 0.0859 | 0.0729
100 |  | 2316.8886 |  |  |  | 7 | 95.7908 | 2.326 |  |  | 0.092 | 0.0748
200 |  | 2659.8089 |  |  |  | 30 | 102.1977 | 2.576 |  |  | 0.1807 | 0.0766
500 |  | 3142.4208 |  |  |  | Monthly | 105.7805 | 2.878 |  |  | 0.2138 | 0.0777
1000 |  | 3532.6282 |  |  | 20 | 1 | 84.3056 | 3.09 |  |  | 0.0698 | 0.0703
5000 |  | 4528.9699 |  |  |  | 7 | 89.8007 | 3.54 |  |  | 0.0662 | 0.0726
10000 |  | 4999.4272 |  |  |  | 30 | 95.6173 | 3.719 |  |  | 0.1609 | 0.0742
[6 empty] | Monthly | 99.352 |  |  |  | 0.1945 | 0.0754
Long term Hydrology
Mean Monthly Flows
Month | Flow, Q m3/s
January | 48.9898 | [6 empty] | Const | Elevation | Annual Precipitation | Area below 3000 | Area below 5000
February | 42.6032 | [6 empty] | a | b | c | d | e
March | 148.3294 | [6 empty] | -16.7 | 1.36 | 0.47 | 0.82 | 0
April | 186.6247 | [6 empty] | -17.2 | 1.42 | 0.456 | 0.814 | 0
May | 310.7421 | [6 empty] | 0.384 | 0 | 0 | 0 | 0.091
June | 226.7475 | [6 empty] | 0.181 | 0 | 0 | 0 | 0.104
July | 456.4626 | [6 empty] | 0.0001 | 0 | 0 | 0 | 0.136
August | 599.8655 | [6 empty] | -19.5 | 1.61 | 0.709 | 0.872 | 0
September | 369.1701 | [6 empty] | -16.3 | 1.26 | 0.759 | 0.884 | 0
October | 182.3954 | [6 empty] | -14.7 | 1.24 | 0.622 | 0.871 | 0
November | 90.2048 | [6 empty] | -13.7 | 1.09 | 0.594 | 0.872 | 0
December | 61.8876 | [6 empty] | -15.3 | 1.21 | 0.6 | 0.846 | 0
Mean Monthly Flows | 227.0019 | [6 empty] | -16.7 | 1.36 | 0.543 | 0.826 | 0
Maximum flow occurred | 599.8655 | [6 empty] | -17 | 1.39 | 0.504 | 0.822 | 0
Minimum flow | 42.6032
Ratio | 14.0803
Flow Duration curve | [7 empty] | Const | Elevation | Annual Precipitation | Area below 3000 | Area below 5000
Probability percentage,% |  | Flow, Q m3/s | [5 empty] | a | b | c | d | e
0 |  | 712.2667 | [5 empty] | -12.8 | 0.366 | 0 | 0.529 | 0
5 |  | 533.1626 | [5 empty] | -13.6 | 1.108 | 0.607 | 0.874 | 0
20 |  | 372.6546 | [5 empty] | -17 | 1.359 | 0.716 | 0.883 | 0
40 |  | 140.999 | [5 empty] | -19 | 1.554 | 0.656 | 0.859 | 0
50 |  | 103.569
60 |  | 66.139 | [5 empty] | -18.3 | 1.535 | 0.513 | 0.832 | 0
65 |  | 62.2425
80 |  | 50.553 | [5 empty] | -19.4 | 1.589 | 0.559 | 0.834 | 0
95 |  | 40.2096 | [5 empty] | -21.2 | 1.732 | 0.598 | 0.842 | 0
100 |  | 104.0488 | [5 empty] | -2.18 | 0 | 0.048 | 0 | 0.077

## station_details
S.no. | Station Name | Station Index | Total Area, km2 | Area below 3000 masl | 3000 masl < Area < 5000 masl | Area above 5000 masl | Area below 5000 masl
1 | Isuwa at Intake | - | 160.79 | 10.02% | 61.68% | 28.3% | 115.28
2 | Powerhouse river-1 | - | 27542.5589 | 2.545% | 58.45% | 39% | 16800.31
3 | Powerhouse river-2 | - | 217.8918 | 32.27% | 63.98% | 3.75% | 209.73
4 | Uwa Gaon | 600.1 | 27090.7629 | 1.618% | 58.9% | 39.48% | 16396.2
5 | Sabhaya | 602 | 391.36 | 92.28% | 7.717% | 0% | 391.36
6 | Hinwa | 602.5 | 148.14 | 96.03% | 3.969% | 0% | 148.14
7 | Turkeghat | 604.5 | 28601.8938 | 5.13% | 57.28% | 37.59% | 17849.7

## Modified HYDEST_PH (hidden)
Hydro Consult Pvt.Ltd
HYDROLOGICAL CALCULATION
Job | Middle Modi Hydroelectric Project |  |  | Job No
Subject | Hydrological estimation |  |  | Calculated | SP Bhusal
Date | 2021-12-22 |  |  | Checked
Location | MM HEP |  | Average altitude | 3728 | m
Catchment Area | 503 | km2 | Annual Wetness index | 2800 | mm
Area Below 5000m | 384 | km2 | Area Below 3000m | 213 | km2
Extreme Hydrology
Flood flows |  |  |  |  | Low Flows |  |  | Flood flows |  |  | Low Flows
Return Period, T yrs |  | Flood flows, Q m3/s |  |  | Return Period | Day | Low flows, Q m3/s | Standard Normal Variate, s |  |  | Cd,T | Fd,T
2 |  | 230.2724 |  |  | 2 | 1 | 3.2814 | 0 |  |  | 0.2144 | 0.0815
5 |  | 389.3653 |  |  |  | 7 | 3.4695 | 0.842 |  |  | 0.2362 | 0.083
10 |  | 512.3448 |  |  |  | 30 | 3.9049 | 1.282 |  |  | 0.3026 | 0.0854
20 |  | 642.5495 |  |  |  | Monthly | 4.1004 | 1.645 |  |  | 0.3397 | 0.086
50 |  | 829.3029 |  |  | 10 | 1 | 2.2935 | 2.054 |  |  | 0.0859 | 0.0729
100 |  | 982.6609 |  |  |  | 7 | 2.4267 | 2.326 |  |  | 0.092 | 0.0748
200 |  | 1148.5075 |  |  |  | 30 | 2.8283 | 2.576 |  |  | 0.1807 | 0.0766
500 |  | 1386.6023 |  |  |  | Monthly | 3.0151 | 2.878 |  |  | 0.2138 | 0.0777
1000 |  | 1582.6582 |  |  | 20 | 1 | 2.0949 | 3.09 |  |  | 0.0698 | 0.0703
5000 |  | 2095.5667 |  |  |  | 7 | 2.2167 | 3.54 |  |  | 0.0662 | 0.0726
10000 |  | 2343.1295 |  |  |  | 30 | 2.608 | 3.719 |  |  | 0.1609 | 0.0742
[6 empty] | Monthly | 2.7957 |  |  |  | 0.1945 | 0.0754
Long term Hydrology
Mean Monthly Flows
Month | Flow, Q m3/s
January | 13.6121 | [6 empty] | Const | Elevation | Annual Precipitation | Area below 3000 | Area below 5000
February | 11.7175 | [6 empty] | a | b | c | d | e
March | 4.6969 | [6 empty] | -16.7 | 1.36 | 0.47 | 0.82 | 0
April | 4.9239 | [6 empty] | -17.2 | 1.42 | 0.456 | 0.814 | 0
May | 7.103 | [6 empty] | 0.384 | 0 | 0 | 0 | 0.091
June | 56.9791 | [6 empty] | 0.181 | 0 | 0 | 0 | 0.104
July | 124.6637 | [6 empty] | 0.0001 | 0 | 0 | 0 | 0.136
August | 164.6843 | [6 empty] | -19.5 | 1.61 | 0.709 | 0.872 | 0
September | 104.9623 | [6 empty] | -16.3 | 1.26 | 0.759 | 0.884 | 0
October | 51.8662 | [6 empty] | -14.7 | 1.24 | 0.622 | 0.871 | 0
November | 25.0921 | [6 empty] | -13.7 | 1.09 | 0.594 | 0.872 | 0
December | 17.086 | [6 empty] | -15.3 | 1.21 | 0.6 | 0.846 | 0
Mean Monthly Flows | 48.9489 | [6 empty] | -16.7 | 1.36 | 0.543 | 0.826 | 0
Maximum flow occurred | 164.6843 | [6 empty] | -17 | 1.39 | 0.504 | 0.822 | 0
Minimum flow | 4.6969
Ratio | 35.0625
Average =
Flow Duration curve | [7 empty] | Const | Elevation | Annual Precipitation | Area below 3000 | Area below 5000
Probability percentage,% |  | Flow, Q m3/s | [5 empty] | a | b | c | d | e
0 |  | 298.1662 | [5 empty] | -12.8 | 0.366 | 0 | 0.529 | 0
5 |  | 150.7367 | [5 empty] | -13.6 | 1.108 | 0.607 | 0.874 | 0
20 |  | 98.7993 | [5 empty] | -17 | 1.359 | 0.716 | 0.883 | 0
40 |  | 36.2988 | [5 empty] | -19 | 1.554 | 0.656 | 0.859 | 0
50 |  | 26.843
60 |  | 17.3872 | [5 empty] | -18.3 | 1.535 | 0.513 | 0.832 | 0
65 |  | 16.3254
80 |  | 13.1399 | [5 empty] | -19.4 | 1.589 | 0.559 | 0.834 | 0
95 |  | 10.015 | [5 empty] | -21.2 | 1.732 | 0.598 | 0.842 | 0
100 |  | 3.4924 | [5 empty] | -2.18 | 0 | 0.048 | 0 | 0.077

## COMPARISION (hidden)
HYDROLOGICAL CALCULATION
Job | Kali Gandaki Tinau Diversion Multi Purpose Project
Subject | Comparision of new and old WECS
Flood flows
Return Period, T yrs |  | Flood flows, Q m3/s
|  | DHM 2004 (Modified Hydest) |  | Hydest
2 |  | 641.467 |  | 593.4095
5 |  | 1021.104 |  | 886.591
10 |  | 1301.8882 |  | 1093.5595
20 |  | 1590.795 |  | 1300.2165
50 |  | 1993.8143 |  | 1580.2108
100 |  | 2316.8886 |  | 1799.0499
200 |  | 2659.8089 |  | 2026.8211
500 |  | 3142.4208 |  | 2340.7566
1000 |  | 3532.6282 |  | 2589.7575
5000 |  | 4528.9699 |  | 3209.5866
Low Flows
Return Period, T yrs |  | Day | Low flows, Q m3/s
|  |  | DHM 2004 (modified Hydest) |  | Hydest
2 |  | 1 | 116.1675 |  | 130.2062
|  | 7 | 120.8753 |  | 135.144
|  | 30 | 129.318 |  | 143.0819
|  | Monthly | 131.9437 |  | 146.5905
10 |  | 1 | 90.9145 |  | 107.682
|  | 7 | 95.7908 |  | 111.2419
|  | 30 | 102.1977 |  | 117.9361
|  | Monthly | 105.7805 |  | 120.6543
20 |  | 1 | 84.3056 |  | 102.7474
|  | 7 | 89.8007 |  | 105.7461
|  | 30 | 95.6173 |  | 112.1713
|  | Monthly | 99.352 |  | 114.6424
Mean Monthly Flows
Mean monthly flows, Q m3/s
Month |  | DHM 2004(Modifed Hydest) | Hydest | MHSP
January |  | 48.9898 | 192.4522 | 2.0393
February |  | 42.6032 | 163.1075 | 2.4854
March |  | 148.3294 | 159.5328 | 2.8315
April |  | 186.6247 | 204.5605 | 8.7399
May |  | 310.7421 | 339.4787 | 25.4136
June |  | 226.7475 | 1426.2832 | 30.4583
July |  | 456.4626 | 2811.1828 | 23.7751
August |  | 599.8655 | 3207.5178 | 11.2129
September |  | 369.1701 | 2415.5426 | 5.4149
October |  | 182.3954 | 1034.3972 | 3.5043
November |  | 90.2048 | 689.8129 | 10.0672
December |  | 61.8876 | 427.9091 | 0
Annual Average |  | 227.0019 | 1089.3148 | 10.4952
Flow Duration curve
Probability percentage,% |  | Flow, Q m3/s
|  | DHM 2004 |  | Hydest
0 |  | 712.2667 |  | 5086.3938
5 |  | 533.1626 |  | 3427.0979
20 |  | 372.6546 |  | 3154.9548
40 |  | 140.999 |  | 961.6989
50 |  | 103.569 |  | 712.7635
60 |  | 66.139 |  | 463.8281
65 |  | 62.2425 |  | 395.1925
80 |  | 50.553 |  | 189.2857
95 |  | 40.2096 |  | 150.2948
100 |  | 104.0488 |  | 109.4912